ELPT 1311 – Basic Electrical Theory

Chapter 04, Ohm’s Law and Power

Name ________________________________________ Date: ________________

- Ohm’s Law is a powerful tool that is used to __________.

ANS:	The best answer/response to the above question/statement is:

    - predict how a circuit will react to changes in current

    - predict how a circuit will react to changes In voltage

    - predict how a circuit will react to changes in resistance

    - predict all of the above

- Current is __________ proportional to voltage and __________ proportional to resistance.

ANS:	The best answer/response to the above question/statement is:

    - inversely, inversely

    - inversely, directly

    - directly, inversely

    - directly, directly

- The current in a circuit has increased and the resistance has remained unchanged.  This means that

ANS:	The best answer/response to the above question/statement is:

    - the voltage has increased

    - the voltage has decreased

    - the power has decreased

    - the voltage has increased and the power has decreased

- A circuit has the following values: E = 1.6 kV and I = 8.8 A. The circuit resistance is __________.

ANS:	The best answer/response to the above question/statement is:

    - 1.82 kΩ

    - 182 Ω

    - 5.5 kΩ

    - 550 Ω

- A given circuit has values of E = 220 V and R = 45 Ω.  Under these conditions, the lowest fuse value you could use is __________.

ANS:	The best answer/response to the above question/statement is:

    - 1.5A

    - 2A

    - 5A

    - 7.5A

    - 10A

- If the resistance of a circuit decreases and the applied voltage remains the same, then the circuit power __________.

ANS:	The best answer/response to the above question/statement is:

    - must increase

    - must decrease

    - remains the same

    - cannot be determined with this information

- A 550 V power supply delivers 8.5 A of current to a motor. The power supplied to the motor equals __________.

ANS:	The best answer/response to the above question/statement is:

    - 64.7 W

    - 4675 W

    - 468 W

    - 647 W

- A speaker has a resistance of 8 Ω. If 2.85 A of current is delivered to the speaker by the amplifier, the speaker is dissipating __________.

ANS:	The best answer/response to the above question/statement is:

    - 23 W

    - 65 W

    - 1.02 W

    - 22.5 W

- 118 V is measured across a heating element with a known resistance of 34.8 Ω.  This means that the heating element produces __________.

ANS:	The best answer/response to the above question/statement is:

    - 4.1 kW

    - 48 kW

    - 4 kW

    - 400 W

- A component is rated at 1200 W maximum. It is connected to a power supply that delivers a maximum of 305 V. The maximum allowable current rating for the circuit breaker in this circuit is __________.

ANS:	The best answer/response to the above question/statement is:

    - 3 A

    - 3.5 A

    - 8.0 A

    - 7.0 A

- A circuit is rated at 4500 W maximum.  The resistance of this circuit is known to be 110 Ω. The maximum allowable current rating for the circuit breaker in this circuit is __________.

ANS:	The best answer/response to the above question/statement is:

    - 9.0 A

    - 7.0 A

    - 8.0 A

    - 6.0 A

- A circuit that has low efficiency __________.

ANS:	The best answer/response to the above question/statement is:

    - converts little of its input power to heat

    - converts most of its input power to output power

    - converts little of its input power to output power

    - coverts most of its output power to heat

- A 120 V power supply produces 6.5 A of current. The power delivered to the load is 260 W.  This circuit has an efficiency rating of __________.

ANS:	The best answer/response to the above question/statement is:

    - 33.3%

    - 66.6%

    - 7.1%

    - 11.7%

- Two 60 W outdoor lights are left on for 30 weeks.  The amount of energy used by light bulbs is __________

ANS:	The best answer/response to the above question/statement is:

    - 604.8 kWh

    - 302.4 kWh

    - 86.4 kWh

    - 172.8 kWh

- A 4.7 kΩ resistor dissipates 185 mW of power.  The current through the resistor is __________.

ANS:	The best answer/response to the above question/statement is:

    - 39.4 μA

    - 1.59 A

    - 6.27 mA

    - 29.5 mA

- (21) Calculate the energy used (in kWh) to run a 500 W microwave oven and a 2400 W air conditioner for three hours.

ANS:	The best answer/response to the above question/statement is:

    - 11.5 kWh

    - 8.7 kWh

    - 6.6 kWh

    - 25 kWh

- A component dissipating 1.86 W of power has 60 V across its terminals.  The resistance of the component is __________.

ANS:	The best answer/response to the above question/statement is:

    - 32.3 kΩ

    - 208 Ω

    - 6.7 kΩ

    - 1.94 kΩ

- For each combination of voltage and resistance, calculate the resulting current.

ANS:	The best answer/response to the above question/statement is:

Voltage 	Resistance 	Current, I

    - 180 V	2.2 kΩ	    	__________

    - 80 V	18 Ω		__________

    - 120 V	470 Ω		__________

    - 16 V	33 Ω		__________

    - 150 V	6.9 Ω		__________

- For each combination of current and resistance, calculate the voltage required to generate the current.

ANS:	The best answer/response to the above question/statement is:

Current 	Resistance 	Voltage, E

    - 10 A	8.2 Ω	    	__________

    - 65 mA	100 Ω		__________

    - 13 A	2.7 Ω		__________

    - 24 mA	1.1 kΩ		__________

    - 800 mA	3.6 Ω		__________

- For each combination of voltage and current, calculate the resistance required to limit the current to the given value.

ANS:	The best answer/response to the above question/statement is:

Voltage 	Current 	Resistance, Ω

    - 600 V	4 A	    	__________

    - 94 V	200 mA	__________

    - 110 V	500 mA	__________

    - 60 V	2.2 A		__________

    - 33 V	303 μA		__________

- For each combination of voltage and current, calculate the power that is being provided by the voltage source.

ANS:	The best answer/response to the above question/statement is:

Voltage 	Current 	Power, W

    - 600 V	4 A	    	__________

    - 94 V	200 mA	__________

    - 110 V	500 mA	__________

    - 60 V	2.2 A		__________

    - 33 V	330 μA		__________

- For each combination of voltage and current, calculate the power that is being provided by the voltage source.

ANS:	The best answer/response to the above question/statement is:

Current 	Resistance 	Power, W

    - 10 A	8.2 Ω	    	__________

    - 65 mA	100 Ω		__________

    - 13 A	2.7 Ω		__________

    - 24 mA	1.1 kΩ		__________

    - 800 mA	3.6 Ω		__________

- For each combination of voltage and resistance, calculate the power that is being supplied by the voltage source.

ANS:	The best answer/response to the above question/statement is:

Voltage 	Resistance 	Power, W

    - 180 V	2.2 kΩ	    	__________

    - 80 V	18 Ω		__________

    - 120 V	470 Ω		__________

    - 16 V	33 Ω		__________

    - 150 V	6.9 Ω		__________